PROCESS TOMOGRAPHY Ltd.

ELECTRICAL CAPACITANCE TOMOGRAPHY SYSTEM

TYPE TFLR5000

INTRODUCTORY NOTES

*** PLEASE READ THIS DOCUMENT FIRST ***

______________________________________________________________________________________

PROCESS TOMOGRAPHY LTD

Wilmslow, UK

email:  enquiries@tomography.com   website: www.tomography.com

___________________________________________________________________________________________

Registered in England No. 2908507.  Registered Office  15, Croft Road, Wilmslow, Cheshire. SK9 6JJ  United Kingdom.

1. OVERVIEW

ECT measurement technology is still under development and is very much a research topic in its own right at present. This is reflected in both the current state of the hardware and software of the ECT system which you are purchasing. With such a rapidly changing technology and the fact that we are a very small company, it is a challenging task for us to keep the documentation and software which we supply to our customers up-to-date with the latest developments in research into ECT.

Please read the following few paragraphs, which briefly describe the documentation and software which we have included with your ECT system software and manual pack. Once you have read this brief introductory document, you can start to familiarise yourself with the ECT software and documentation.

2. DOCUMENTATION

The documentation pack includes the following items:

2.1	Custom Documents

This set of Introductory Notes (v 1.28)

2.2	ECT32 Software User Guide

2.3 	TFLR5000 Operating Manual in 5 Volumes

Volume 1 Fundamentals of ECT

Volume 2 Operation with the ECT32 software

Volume 3 Capacitance Measurement

Volume 4 Supplementary software

Volume 5 Flowan1 software manual

2.4	Software installation CD.

3. HOW TO USE THE MANUALS

A full contents list for the Operating Manuals is contained at the start of Volume 1.

If you are unfamiliar with Electrical Capacitance Tomography (ECT) technology, we suggest you read Volume 1 Fundamentals of ECT (this volume) in detail, as it contains an introduction, followed by fuller comprehensive information about  the basic principles and practical applications of ECT.  There is also a FAQ section which give answers to many of the questions which are asked about ECT technology, and 2 appendices describing the Linear Back Projection image reconstruction algorithm and the design of multi-electrode ECT sensors.

Once you are familiar with the basics of ECT, read Volume 2, which contains detailed operating instructions for the TFLR5000 ECT system, based on the use of the ECT32v3 control and analysis software. It includes a section on first time use and a set of Quickstart instructions. An additional User Guide to the ECT32v3 software for use with data files generated by TFLR5000 or PTL300E ECT systems is in a separate document.

Volume 3 gives information about the TFLR5000 Capacitance Measurement Unit (CMU), including details of the capacitance measurement principles and circuitry.  It also contains detailed information about the Sensor Toolkit control software, which is used to configure and control the TFLR5000 unit.

Volume 4 contains information about additional off-line software which can be used to generate and analyse data files for TFLR5000 ECT systems. This includes software for generating sensitivity matrices for circular ECT capacitance sensors.

Volume 5 contains information about the Flowan1 software for analysing flow data using data files generated by either the ECT32v3 or Sensor Toolkit programs.

Please note that there is some repetition both within and between the 5 Volumes, to make each volume self-contained as far as possible.

4. SOFTWARE DETAILS

The TFLR5000 ECT system is supplied with a comprehensive set of control and analysis software. The primary software which is used used to control the ECT system and to capture and image data is the ECT32v2 software. However, additional software for use before and after capturing data is also supplied and a brief summary of each software item is given below.

ECT32v3: System control, image display and data capture software for use as an ECT system. Details in Volume 2 of the Operating Manual.

Sensor Toolkit: System control, configuration, capacitance measurement and data capture software for flow measurement applications. Details in Volume 3 of the Operating Manual.

BCPTool: Data file conversion software. Details in Volume 3 of the Operating Manual.

Makemap:  Sensitivity Matrix generation software for circular ECT sensors. Full details in Volume 4 of the Operating Manual.

Plot3d: 2 and 3-dimensional plotting software for use with data files generated by the ECT32v3 software. Full details in Volume 4 of the Operating Manual.

C/Ktool:  Sensor characteristics, advanced calibration and linearising file generation software. Details in Volume 3 of the Operating Manual.

MatECT: A set of utilities for users who have access to Matlab. Requires Matlab (not supplied) to be installed on the PC before use.  Full details in Volume 4 of the Operating Manual.

Flowan1: Flow analysis and measurement software. Details in Voume 5 of the Operating Manual.

IU2000 Supplementary image reconstruction software for producing a range of enhanced ECT images from data files captured using the ECT32v3 software. (Usable with data from sensors with 6,8 or 12 electrodes in bcp1 format). Full details in Volume 4 of the Operating Manual.

4.1 Software Notes

1. A full set of this software will be installed on the PC to be supplied with your ECT system. Instructions for installing the software on an additional PC are given in Appendix 3 in Volume 2 of the Operating Manual and inluded as an appendix to these notes.

2. The CKTool software has been supplied to allow sensor linearisation to be implemented in a future update to the ECT32 and Flowan1 software.

4. SOFTWARE INSTALLATION

The ECT software is supplied on a single CD. Please use this to install the software on a suitable PC running the Windows XP or Windows 7 operating systems,  as described in the Appendix.

Notes:

1. Answer any questions during set-up with a positive response. Some of the programs will try to run once they have been installed, but will fail until the PC has been re-booted. It is necessary to restart the PC after software installation to ensure correct operation of the software.

5. SENSOR INFORMATION FILES (SENSITIVITY MAPS)

A set of generic sensitivity maps (ssm_12_32.sif etc.) have been supplied with the ECT32v2 software in the (default) Smaps folder.

A further two sets of Tikhonov maps have also been supplied in a sub-folder, which will produce more focussed (although noisier) images. The tn_32-1.sif set of maps are for a Tikhonov factor of 1 (high-gain)  while the tn_32-10.sif maps are for a Tikhonov factor of 10 (lower gain).

Additional sensitivity maps for circular ECT sensors can be generated using the Makemap software supplied.

6. USING THE ECT32 SOFTWARE TO VIEW SAMPLE DATA FILES

Following software nstallation, a TFLR5000 software group icon will be installed on the PC desktop. Click on the TFLR5000 desktop icon.  The following software window appears (if necessary, set the window view to icons).

TFLR5000 Software group Window

As well as the ECT programs, copies of the ECT system documentation can also be accessed using the Docs icon in this window.

There is also a link to the PTL web site, which can only be accessed if the PC has internet access.

Click on the Ect32v3 icon. The ECT32 program registration window will appear as shown in the next figure.

ECT32 Registration Window

Click on the Use in playback only mode button in the Registration window. This facility allows unrestricted use of the ECT32 software with either the example data files provided, or with data files generated by users.

Now refer to the ECT32 User Guide and use the ECT32 software to display and analyse the sample data files and so familiarise yourself with the use of the ECT32 software. These examples of captured capacitance data files are installed in the C:\TFLR5000\DATA FILES\EXAMPLES folders and can be used to test and evaluate any of the above software. Further details are given in the ECT32v2 Software User Guide.

7. THE NEXT STEPS

1. Please read all of the documentation, which should give you a good understanding of ECT technology.

2. Once you have done this, try using the ECT32 software to view some of the example data as described in the ECT32v2 Software User Guide.

3. In a similar manner, you can familiarise yourself with the Flowan software using the example data files as described in the Flowan User Guide in Volume 5 of the ECT system Manual.

4 If you need further information about previous work and applications of ECT, please refer to the list of references and papers on the PTL Web site at: www.tomography.com or contact us by email at enquiries@tomography.com.

Process Tomography Ltd. December 2013

APPENDIX 3

SOFTWARE INSTALLATION

PTL ECT systems are normally supplied with software pre-installed on the control PC. The software installation files are also included on a CDROM supplied with the ECT system. If users wish to install the software on an additional PC, the following instructions should be followed:

A3.1 OVERVIEW

The TFLR5000 software is supplied on a single CD and is installed in 2 stages.

1. Programs

2. Documentation, configuration  and example data files.

A3.2 PROGRAM INSTALLATION

1. Insert the TFL software CD and browse to the file ECT_Setup_RXXX.exe.

2. Run this program once to install all the program software.

The installation sequence is as follows:

Click on  Next.

Accept the agreement and click on Next.

Set the installation folder to C:\TFLR5000  and click Next.

Click Next.

Set the Start Menu folder name to TFLR5000 and click Next.

Untick the Startup DHCP server on login box and then click Next.

Click on the Install button. The PC will pause while it installs the software.

The following window appears when the installation is complete:

Click on Next.

Click on Finish. This completes the program installation.

Now install the documentation, configuration and  and example data files as described in section A3.3 to complete the software installation.

A3.3  INSTALLATION OF DOCUMENTATION AND EXAMPLE FILES

Select and run the program ECT_Customer_Setup.exe from the PTL software installation CD. This will install the manuals and other documents etc. It also installs the example files in the data files folder and the config (.xml) files. The installation program contains a check to avoid over-writing any existing data/document/config files and the installation sequence is as follows:

Click the Next button

Select All the components as above

Accept the default C:\TFLR5000 folder

Click on the Install button

The documentation and other data files will be installed. On completion, the following window will be displayed:

Click on the Finish button to complete the installation of the ECT software and documentation.